## Sheet1
Tools	CODE	Quantity	location
SAFETY BELTS , HELMETS (DRUM INSIDE) .	77755	2	GURGAON
VACCUME GUAGE METER Art. No. 88681	88683	1	MUMBAI
VACCUME INSPECTION GLASS .	88681	1	GURGAON
ROPE 10mm .	77763	30	consumables
AIR COMPRESSOR .	78293	1	GURGAON
AIR COMPRESSOR Set.	78296	1	MUMBAI
ALUMINUM ANGEL 0.4MTR	77740	3	GURGAON
ALUMINUM ANGEL 01 MTR	77741	3	GURGAON
ALUMINUM ANGEL 02MTR,	77742	6	GURGAON
Band it tool	65799	1	MUMBAI
BAND SAW Art. No.88880 .	88880	1	GURGAON
Box for tools with belts	78292	2	consumables
CABLE INSULATION GRINDING Art. No. 88964 .	88964	1	GURGAON
CABLE PULLER 0.5 T .	79114	6	GURGAON
Cable Striping Knife	4539	2	consumables
Cable Striping Knife Brugg Type	4627	2	consumables
CHAIN TENSION 250 KG .	77712	2	GURGAON
CHAIN TENSION 500 KG .	78300	2	GURGAON
COMPOUND MIXER ELECTRIC CX40 .	64039	1	MUMBAI
Cone knife 45 degree	76367	1	consumables
Cut knife 10 mm to EH 130	75962	1	consumables
ELECTRIC HYDRAULIC PUMP 850 BAR HAND SWITCH PFISTERER.	65416	1	NEPAL UTK
Evacuating device G 1/4" for sealing end	88004	2	GURGAON
EXTENSION CORD 230V 33 MTR Art No. 082168 .	79197	4	GURGAON
Flame brust protector for pipe	53593	1	GURGAON
For Work Panel	77756	1	GURGAON
Fork	76631	1	NEPALUTK
Grooving knife 49/40/5.9mm EH 130	76329	1	consumables
Grooving knife EH 130	62521	1	consumables
HALOGEN LAMP 500W/ 230V Art. No. 8509 .	79196	2	GURGAON
HAMMERING DRILL MACHINE TE 40.	77743	1	GURGAON
HAYDRAULIC HAND CRIMPING .	78277	1	NEPAL UTK
Heating Torch Flame 9mm	53587	1	GURGAON
Heating Torch Flame 20mm	53588	1	GURGAON
Heating Torch Flame 30mm	53589	1	GURGAON
Heating Torch Flame 40mm	53590	1	GURGAON
Helmate Blue	77752	2	consumables
HEATING TUBE TYPE 150, 250/150 X 980mm 230 VAC, 50-60 Hz, / MAX. 400W ACCORDING TO DRAWING , MO1088-0.	88279	12	GURGAON
HEATING TUBE TYPE 150, 250/150 X 980mm 230 VAC, 50-60 Hz, / MAX. 400W ACCORDING TO DRAWING , MO1088-0.	88279	3	NEPAL UTK
HIGH VOLTAGE DISCHARGE STICK ES70 .	77758	1	NEPAL UTK
HIGH VOLTAGE TESTER PGK 25 .	77757	1	NEPAL UTK
HYDRAULIC COMPRESSION PUMP (PE-172A-M-50-120-220) / FOOT SWITCH.	76691	1	NEPAL UTK
HYDRAULIC PIPE 2.5 MTR .	76693	1	NEPAL UTK
HYDRAULIC PRESS HEAD 35 t .	65417	1	NEPAL UTK
HYDRAULIC PRESS HEAD 60 t .	76692	1	NEPAL UTK
INSULATION PUSHING DEVICE 240 - 800 mm Art. No. 88957 .	88957	3	GURGAON
INSULATION PUSHING DEVICE 1000-2500 mm Art. No. 88958 .	88958	1	GURGAON
INSULATION PUSHING DEVICE 1000-2500 mm Art. No. 88958 .	88958	2	MUMBAI
JOINT BODY INSTALLATION DEVICE 109-129 MM .	88475	1	GURGAON
JOINT BODY INSTALLATION DEVICE (56-109 mm) Art. No. 88475 .	88474	1	GURGAON
KEY CONSITING . SPANNER BOX 32 pc .	64350	1	GURGAON
KZ - 52, 800 Sqmm	62272	1	GURGAON
KZ - 58 , 1000 Sqmm	76148	1	GURGAON
KZ-38	65418	1	GURGAON
KZ-42	62270	1	GURGAON
KZ-44 630 Sqmm	62271	1	GURGAON
LADDER .	77754	1	GURGAON
LGBR 25/10 Tape	47983	25	consumables
LGSR 10 closure	47984	100	consumables
MOS Sheath cutter MS-2000	65502	1	GURGAON
NIPPEL BOX 1/4" & 3/8" .	89358	1	MUMBAI
NYLON SLING 1MTR PURPLE	77746	2	consumables
NYLON SLING 1TO, 2MTR, Purple	77745	2	consumables
NYLON SLING 2MTR,PURPLE .	78301	2	consumables
NYLON SLING 4 MTR, PURPLE	78303	2	consumables
PEELING DEVICE MOS EH 130, NO. 1602-176.	88265	1	MUMBAI
PEELING DEVICE MOS EH 150, NO. 1603-065.	88468	1	CHENNAI
PEELING DEVICE MOS S125 .	65505	1	GURGAON
PEELING DEVICE MOS S150 .	65506	1	GURGAON
PEELING DEVICE MOS S80 .	65504	1	GURGAON
PEELING DEVICE MOS SH 130 .	65032	1	MUMBAI
PEELING DEVICE MOS SH 80 .	65031	1	GURGAON
PENDULAM SAW .	79112	1	NEPAL UTK
PERPATCH BORD 400/230v x 3	77762	1	GURGAON
PERPATCH BORD 230 V	77739	3	NEPAL UTK
Pipe 100mm Dia	62924	1	GURGAON
Pipe 120mm Dia	79145	1	GURGAON
Pipe 60mm Dia	76156	1	GURGAON
Pipe 75mm Dia	76157	1	GURGAON
Pipe 85mm Dia	76158	1	GURGAON
Pipe 95mm Dia	76159	1	GURGAON
Plier for Ligres Tape	4788	1	GURGAON
Plug IP44 16 Amp 230V	77738	1	GURGAON
Plug IP44 32 Amp 400V	77737	2	GURGAON
Plug IP44 63 Amp 400V	77736	2	GURGAON
Polyethylene Plier	71706	1	GURGAON
POWER DISTRIBUTION T12 23V EXTENSION CORD 230V 02 MTR .	77760	2	GURGAON
POWER DISTRIBUTION T12 23V EXTENSION CORD 230V 05 MTR .	77761	2	GURGAON
press insert 35	66028	1	NEPAL UTK
Propane Hose 6m	53596	1	GURGAON
Pulling Stripe TU 3 4M	76354	10	consumables
R - 43	62009	1	GURGAON
R - 49	76697	1	GURGAON
R - 54	76695	1	GURGAON
R - 68	65983	1	GURGAON
R -61	62011	1	GURGAON
SCREW BOX ( BLACK BOX) .	77759	1	GURGAON
Shackle2.0	77750	4	GURGAON
SILICONE OIL Pump .	88000	1	NEPAL UTK
SILICONE OIL PUMP FOR GIS .	88010	1	GURGAON
SK - 58	62016	1	need to check
SK - 60	76698	1	GURGAON
SK - 65	65980	1	GURGAON
SK - 70	62017	1	GURGAON
SK - 75	62608	1	GURGAON
SK - 80	64413	1	GURGAON
Soldring torch small size Bormann PLS 3	76160	1	GURGAON
Soldring torch small size Bormann PLS 5	76161	1	GURGAON
Span set box 1M	77744	1	NEPAL UTK
spanner box set 2m	78310	1	MUMBAI
Speare belt for MOS S150	77715	2	consumables
Speare belt for MOS S125	77714	2	consumables
Speare belt for MOS S80	77713	2	consumables
Stafflamp dulux 18 w	78312	2	GURGAON
Stafflamp dulux 40 w	78311	2	GURGAON
STRESS CONE PULLING DEVICE Art. No. 88299 for TERMINATIONS.	88299	1	GURGAON
TOOL BOX TYPE LISTA (BIG TOOL BOX) .	77776	1	GURGAON
Torch grip 3/8"	53584	1	NEED TO CHECK
Two way outlet3/8"	53600	1	NEED TO CHECK
vaccume cleaner full .	78313	1	GURGAON
Vaccume cleaner accessories full .	77748	1	GURGAON
VACUME PUMP SINGEL PHASE Art no. 88682 .	88682	1	GURGAON
VACUME PUMP THREE PHASE Art No. 88662 .	88662	1	GURGAON
Vest Jacket L size	77751	2	consumables
Vest Jacket M size	77749	2	consumables
Wooden Bent	78289	2	GURGAON
Extension Cord 16/5 400V	62119	4	GURGAON
Mounting Tools	88927	1	GURGAON
Hand lamp 230 V	78581	4	GURGAON